## Slide 1
BOILER
TURBINE
PROCESSING UNITS AND EQUIPMENT (1)
NATURAL GAS
FUEL GAS
FLEXIGAS
LIGHT NAPHTHA
PROCESS WATER
VERY HIGH PRESSURE STEAM
PHOSPHATE
PROCESSING UNITS AND EQUIPMENT (2)
ELECTRIC POWER
HIGH PRESSURE STEAM
MEDIUM PRESSURE STEAM
DRAINAGE
CONDENSATE + LOW PRESSURE STEAM
ATMOSPHERE
EXHAUST GASES (*)
Carbon Dioxide (CO2)
Water Vapor (H2O)
Carbon Monoxide (CO)
Nitrogen Oxides (NOx)
Unburned Hydrocarbons (HC)
Particulates (PM)
Sulfur Dioxide (SO2)
Oxygen (O2)
Ozone (O3)
598.3 Ton/h
284.4 Ton/h
90.0 Ton/h
PROCESSING UNITS AND EQUIPMENT (3)
223.9 Ton/h
100 MW

## Slide 2
PRODUCT | HEATING VALUE | UNIT OF MEASURE
NATURAL GAS | 954.963 | BTU/SCF
FUEL GAS | 793.634 | BTU/SCF
FLEXIGAS | 130.376 | BTU/SCF
LIGHT NAPHTHA | 4’440,264 | BTU/BBL